## Slide 1
SMART FIRE
SAFETY & MONITORING SYSTEM
From edge detection to real-time response, communication and data.
ESP32
MQTT
NODE-RED
ANALYTICS
TECHNICAL PRESENTATION
SMART FIRE • SAFETY & MONITORING SYSTEM
01

## Slide 2
01 | THE PROBLEM
Opening
Why a factory fire system needs more than a single alarm.
The Challenge
Detect abnormal heat as early as possible.
React locally without waiting for a remote server.
Share critical alerts across nearby zones.
Keep a digital record for later analysis.
Design Objective
FAST
LOCAL
CONNECTED
TRACEABLE
A distributed architecture where each zone can sense and respond independently, while MQTT and Node-RED provide the monitoring layer.
SMART FIRE • SAFETY & MONITORING SYSTEM
02

## Slide 3
02 | PRESENTATION FLOW
Five Technical Layers, One System
Architecture → Detection → Response → Communication → Data & Results
01
ARCHITECTURE
02
DETECTION
03
RESPONSE
04
COMMUNICATION
05
DATA
SMART FIRE • SAFETY & MONITORING SYSTEM
03

## Slide 4
03 | SYSTEM ARCHITECTURE
Zones, Broker & Dashboard
Each zone is autonomous at the edge; the network layer connects zones and the dashboard.
PERSON 1 — Architecture
ZONE 1
Sensors + ESP32
ZONE 2
Sensors + ESP32
ZONE 3
Sensors + ESP32
LOCAL RESPONSE
Buzzer • LED • Relay
MQTT BROKER
Central message layer
NODE-RED
Route • Display • Notify
SMART FIRE • SAFETY & MONITORING SYSTEM
04

## Slide 5
04 | ZONE DESIGN
The Core Repeated Unit
Sensor → ESP32 → Fire Decision → Local Response → MQTT
SENSORS
temperature / flame
ESP32
read + decide
RESPONSE
alarm + relay
MQTT
publish alert
Sensor → ESP32 → Fire Decision → Local Response → MQTT
SMART FIRE • SAFETY & MONITORING SYSTEM
05

## Slide 6
05 | HARDWARE AT THE EDGE
Wokwi / ESP32 Build Components
ESP32, NTC sensor, relay, buzzer, LEDs and switch wired to dedicated GPIO pins.
PERSON 1 — Hardware Build
ESP32 DevKit
Main controller
NTC Temperature Sensor
Analog temperature input
Relay Module
Controls the response output
Buzzer
Audible local alarm
LED Indicators
Visual system status
Slide Switch
Manual input / control
SMART FIRE • SAFETY & MONITORING SYSTEM
06

## Slide 7
06 | FIRE DETECTION
Sensors & Fire Detection
Example logic: Fire = Flame Detected OR Temperature ≥ 60°C
PERSON 2 — Sensors & Detection
TEMPERATURE SENSOR
NTC → ESP32 ADC input
FLAME SENSOR
Digital / analog fire cue
ESP32 DECISION
Read → compare → classify
FIRE STATE
SAFE / FIRE
SMART FIRE • SAFETY & MONITORING SYSTEM
07

## Slide 8
07 | DETECTION LOGIC
From Reading to Decision
Separate the sensor reading from the fire decision.
01
READ
ESP32 samples the sensor input.
02
COMPARE
Temperature is evaluated against a threshold.
03
CLASSIFY
The controller converts raw readings into a system state.
WHY THRESHOLDS MATTER
Too low
false alarms
Balanced
fast + reliable response
Too high
late detection
SMART FIRE • SAFETY & MONITORING SYSTEM
08

## Slide 9
08 | LOCAL RESPONSE
Fire Detected → Immediate Action
Local action happens first — communication follows.
PERSON 3 — ESP32 Response
FIRE
DETECTED
Trigger event at the edge
RELAY
Activate connected output
BUZZER
Audible warning
ALARM LED
Visual warning
PUBLISH ALERT
MQTT message
SMART FIRE • SAFETY & MONITORING SYSTEM
09

## Slide 10
09 | ZONE-TO-ZONE ALERTS
One Fire, Every Neighbor Warned
Publish once → multiple subscribed zones can react.
ZONE 1
FIRE DETECTED
factory/zone1/alert
MQTT TOPIC
ZONE 2
SUBSCRIBER
ZONE 3
SUBSCRIBER
SMART FIRE • SAFETY & MONITORING SYSTEM
10

## Slide 11
10 | MQTT ARCHITECTURE
Publish / Subscribe Messaging
Lightweight publish/subscribe messaging keeps the zones decoupled from the dashboard.
PERSON 4 — MQTT & Node-RED
ESP32 ZONES
Publish / Subscribe
HIVEMQ BROKER
Message routing
NODE-RED
Processing
DASHBOARD
Live view
SMART FIRE • SAFETY & MONITORING SYSTEM
11

## Slide 12
11 | TOPICS & MESSAGE FLOW
Telemetry vs. Critical Alerts
The same broker can carry both periodic telemetry and event-driven alerts.
factory/zone1/telemetry
Sensor readings / status
factory/zone1/alert
Critical fire event
NODE-RED PIPELINE
RECEIVE
PARSE
ROUTE
DISPLAY
NOTIFY
The same broker can carry both periodic telemetry and event-driven alerts, routed by topic.
SMART FIRE • SAFETY & MONITORING SYSTEM
12

## Slide 13
12 | NODE-RED & DASHBOARD
Turning MQTT into an Operational View
FACTORY SAFETY MONITOR
SYSTEM ONLINE
ZONE 1
SAFE
ZONE 2
SAFE
ZONE 3
FIRE
ZONE 4
SAFE
LIVE TEMPERATURE
Chart: 
| Z1 | Z2 | Z3 | Z4 | Z5 | Z6
Temp (°C) | 34 | 36 | 68 | 33 | 35 | 37
Alerts
Zone status
Telemetry
Event history
SMART FIRE • SAFETY & MONITORING SYSTEM
13

## Slide 14
13 | DATA LOGGING
Event Storage & Analytics
This creates a traceable history instead of treating each alarm as an isolated event.
PERSON 5 — Data & Analytics
MQTT EVENT
Alert / telemetry
LOGGER
Timestamp + zone + state
CSV
Persistent event file
ANALYTICS
Patterns + decisions
EXAMPLE RECORD
timestamp | zone_id | temperature | flame_state | event_type
SMART FIRE • SAFETY & MONITORING SYSTEM
14

## Slide 15
14 | DATA-DRIVEN DECISIONS
From Raw Events to Evidence
Raw events become evidence for improving the system.
WHAT CAN WE MEASURE?
Number of fire events
Peak temperature by zone
Frequency of alerts
Response patterns
Repeated false alarms
TREND
Chart: 
| W1 | W2 | W3 | W4 | W5 | W6
Fire events | 2 | 3 | 2 | 4 | 3 | 5
Compare zones over time
DECISIONS
Tune thresholds
Identify risky zones
Improve response rules
Plan maintenance
Validate performance
SMART FIRE • SAFETY & MONITORING SYSTEM
15

## Slide 16
15 | END-TO-END SYSTEM
One Event, From Signal to Decision
Detection is local. Awareness is distributed. Data makes the system smarter.
01
SENSE
Physical world
02
DECIDE
Edge computing
03
RESPOND
Safety action
04
PUBLISH
IoT network
05
DISPLAY
Operations
06
LOG
Evidence
Detection is local. Awareness is distributed. Data makes the system smarter.
SMART FIRE • SAFETY & MONITORING SYSTEM
16

## Slide 17
16 | LIVE DEMO
Recommended Demo Sequence
Goal: demonstrate the complete chain without explaining every screen.
DEMO
01
Trigger sensor condition
02
ESP32 classifies FIRE
03
Relay + buzzer + LED
04
MQTT alert published
05
Neighbor zone reacts
06
Node-RED dashboard updates
07
Event is logged
SMART FIRE • SAFETY & MONITORING SYSTEM
17

## Slide 18
17 | FUTURE IMPROVEMENTS
From Prototype to Production
From prototype to a production-ready safety platform.
MULTI-SENSOR FUSION
Combine temperature, flame and additional environmental signals.
FAULT DETECTION
Detect disconnected sensors or abnormal readings.
ESCALATION
Add SMS / email / mobile notifications for critical events.
HISTORICAL ANALYTICS
Use longer-term data to identify risk patterns.
SMART FIRE • SAFETY & MONITORING SYSTEM
18

## Slide 19
Q&A
Five technical layers. One safety system.
Architecture
Detection
Response
MQTT/Node-RED
Data
THANK YOU
SMART FIRE • SAFETY & MONITORING SYSTEM
19